Gaseous Nitrogen气态氮

General概述

Nitrogen makes up the major portion of the atmosphere (78.03% by volume, 75.5% by weight). Gaseous nitrogen is inert, colorless, odorless, tasteless, nontoxic, non corrosive, and nonflammable. Nitrogen is inert and will not support combustion; however, it is not life supporting.

氮构成了大气的大部分（体积比78.03，重量比75.5%）。气态氮是不活泼的，无色，无嗅，无味，无毒，无腐蚀性，不可燃。氮是不活泼的，不支持燃烧；但是它不是维持生命的必要元素。

Nitrogen is inert except when heated to very high temperatures, where it combines with some of the more active metals, such as lithium and magnesium, to form nitrides. It will also combine with oxygen to form oxides of nitrogen and when combined with hydrogen in the presence of catalysts, will form ammonia.

一般情况下，氮是不活泼的的。当加热到非常高的温度时它会同更加活泼的金属，如锂和镁反应生成氮化物。它还会同氧反应生成氮的氧化物，而且当在有催化剂存在时它会同氢反应生成氨。

Since gaseous nitrogen is non corrosive, special materials of construction are not required. Vessels and piping should be designed to the American Society of Mechanical Engineers (ASME) standards or Department of Transportation (DOT) codes for the pressure and temperatures involved.

由于气态氮无腐蚀性，不需要特殊的建材。容器和管道系统要根据相关的压力和温度按照美国机械工程师协会（ASME）的标准或交通部（DOT）的规定来设计。

Nitrogen may be compressed into cylinders using water- or oil-lubricated compressors or by dry compression systems.

可以使用水或油润滑的压缩机或干压缩系统把氮压缩进钢瓶。

Physical and chemical properties are listed in Table 1.

物理和化学性质列于表1。

Manufacture生产

Nitrogen is produced at air separation plants either by liquefaction of atmospheric air and separation of the nitrogen by distillation or by adsorption processes.

在空气分离工厂、或者通过空气液化和蒸馏分离出氮，或者通过吸附过程生产氮。

Uses用途

Nitrogen is the largest volume inorganic chemical sold in the world and has a multitude of commercial and technical applications. Nitrogen’s properties benefit applications such as heat treating atmospheres, blanketing atmospheres, propellants, pneumatics, purging and pressurizing, and analytical carrier gases.

氮是世界上销售量最大的无机化学品，有着广泛的商业和技术应用。氮的性质使许多应用受益，如热处理气氛、覆盖气氛、推进剂、气体力学、净化和加压以及分解运载气体。

Health Effects对健康的影响

Being odorless, colorless, tasteless, and non-irritating, nitrogen has no warning properties. Humans possess no senses that can detect the presence of nitrogen. Although nitrogen is nontoxic and largely inert, it can act as a simple asphyxiant by displacing the oxygen in air to levels below that required to support life. Inhalation of nitrogen in excessive amounts can cause dizziness, nausea, vomiting, loss of consciousness, and death. Death may result from errors in judgment, confusion, or loss of consciousness, which prevents self-rescue. At low oxygen concentrations, unconsciousness and death may occur in seconds and without

warning. Personnel, including rescue workers, should not enter areas where the oxygen concentration is below 19.5%, unless provided with a self-contained breathing apparatus or air-line respirator.

由于无嗅、无色、无味、无刺激性，氮没有警告性特征。人类没有能够探测到氮的存在的官能。尽管氮无毒且很大程度上不活泼，通过取代空气中的氧，使之下降到维持生命所必须的水平以下它可以为简单的窒息物。过量吸入氮会导致眩晕、恶心、呕吐、失去知觉和死亡。死亡可能来源于错误的判断、精神混乱或者阻止了自救的失去知觉。在低氧浓度情况下，意识不清和死亡会在几秒钟内发生，而且没有警告。除非备有自己式呼吸器（SCBA）或空气管呼吸器，任何人，包括救援人员，都不能进入氧浓度低于19.5%的区域。

For more information on oxygen-deficient atmospheres, consult Air Products’Safetygram-17, “Dangers of Oxygen-Deficient Atmospheres”.

要得到关于缺氧大气的更多信息，请参考Air Products的安全程序-17，“缺氧大气的危险”。

Containers容器

Gaseous nitrogen is shipped and stored in high-pressure cylinders, tubes, or tube trailers depending upon the quantity required by the user. Containers are designed and manufactured according to applicable codes and specifications for the pressures and temperatures involved. The quantity of product a container can hold is determined by its water capacity and pressure rating.

根据用户要求的量，使用高压钢瓶、管道或管道拖车来运输和储存气态氧。钢瓶的设计和制造是按照相应的压力和温度所适用的法规和规范。容器的产品容量有它的水容积和额定压力来决定。

Cylinders钢瓶

A cylinder (Fig. 1) is a hollow tube with a closed concave base that permits the cylinder to stand upright. The opposite end is tapered to a small opening, which is threaded to accommodate the installation of a valve. A threaded neck ring is attached to the tapered end to allow a protective cylinder cap to be installed.

钢瓶（图1）是中空的管道，封闭的底部是凹入的，这样可以直立起来。另一端是锥形开口，车有螺纹，以便安装阀门。锥状顶端装有带螺纹的颈环，可以安装保护性的钢瓶帽。

Cylinders are manufactured according to DOT regulations. These regulations specify the material of construction, method of manufacture, method of testing, what products they are permitted to be filled with, as well as other details.

钢瓶的制造依照交通部的规定，该规定指定了建材、制造和测试方法、允许填充的产品以及其它细节。

Cylinders may be used individually or in groups. When in groups, the cylinders should be piped together, for stationary storage or to form portable banks.

钢瓶可以单个或成群使用。成群使用时，钢瓶要用管道连接到一起作为固定储存库或形成移动储存库。

Tubes管道

A tube (Fig. 2) is a pipe that is tapered on both ends. Each end is then threaded to allow the installation of valves, connections, or relief devices.

管道（图2）两端是锥形。每一端都车有螺纹，以安装阀门、接头或减压装置。

Tubes are manufactured according to DOT regulations or they may be made to ASME codes, depending on whether they are used for transportation or mounted permanently at a site. Tubes are generally mounted on truck-trailer chassis or railroad car beds, or placed at stationary locations when large amounts of nitrogen are needed.

根据管道是用于运输或者永久安装在某处，按照DOT的规定或者ASME的规定制造管道。管道一般是安装在拖车底盘或有轨车底座上，或者当需要大量氮时放置在固定位置。

Valve Connections阀门接头

The Compressed Gas Association (CGA) recommends three different connections for nitrogen depending on the pressure of the container. In addition, a high-integrity connection known also as a Diameter Index Safety System (DISS) connection has also been assigned to nitrogen. Cylinders containing nitrogen at pressures up to 3000 psig use a CGA 580 connection; cylinders containing pressures between 3001 and5500 psig use a CGA 680 connection; and cylinders containing pressures between 5501and 7500 psig use a CGA 677 connection. The DISS connection assigned to nitrogen is DISS718. For detailed drawings of these connections, consult CGA Pamphlet V-1. For general drawings consult the Air Products’ Specialty Gases and Equipment Catalog.

根据容器的压力，压缩气体协会（CGA）推荐了三种不同的接头。另外，指定了一种被称为直径指数安全系统（DISS）的高完整性接头用于氮的使用。氮的压力在3000 psig以下的钢瓶使用CGA 580接头；压力在3001到5500 psig之间的钢瓶使用CGA 680接头；压力在5501到7500 psig之间的钢瓶使用CGA 677接头。指定给氮的DISS接头是DISS718。要得到这些接头的详细图纸可以参考CGA手册V-1。要得到草图可以参考Air Products的“特种气体和装置目录”。

Pressure Relief Devices减压装置

Nitrogen containers are equipped with pressure relief devices to protect from over pressurization. Nitrogen cylinders less than 65 inches long use a frangible disc device. Cylinders over 65 inches use a combination device consisting of a frangible disc backed by a fusible alloy. Combination devices require that both the temperature and pressure requirements be reached before the device will relieve. For more information on pressure relief devices, consult Air Products’ Safetygram-15, “Cylinder Pressure Relief Devices”.

氮容器装备有减压装置，以便在过压和可能的破裂时保护容器。长度小于65英寸的氮钢瓶使用易碎盘装置。大于65英寸的钢瓶使用由后面是可熔合金的易碎盘组成的组合装置。组合装置要求在装置减压前温度和压力都达到要求。要了解关于减压装置的更多情况，可以参考Air Products的安全程序-15，“钢瓶减压装置”。

Container Stampings钢瓶的印记

Each cylinder or tube is identified by stampings in the metal of the shoulder. Fig. 3depicts an example of these stampings and what they mean.

可以通过肩部金属上的印记来鉴别每一个钢瓶或管道。图3描述了一个印记的例子和它们的含义。

Shipment of Gaseous Nitrogen气态氮的运输

All shipments of compressed nitrogen must comply with DOT regulations. This is true for motor freight, rail, water, and air shipments. The Department of Transportation Regulations, Title49, also describes the labeling and identification required. All packaging used to transport nitrogen must be either “UN/DOT Specification” or “UN/DOT Authorized” and in proper condition for transport.

所有压缩氮的运输必须遵守DOT的规定。这对汽车货运、铁路、空运和水运都有效。交通部规范，Code of Federal Regulations第49条还规定了要求的标签和鉴别。所有用于运输氮的包装必须或者是“UN/DOT规范”或者是“UN/DOT授权”，而且状态良好。：

DOT Shipping Name货物名称: Nitrogen, Compressed氮，压缩的

DOT Hazard Class危险等级: 2.2

DOT Shipping Label运输标志: Nonflammable gas (Fig. 4)不可燃气体（图4）

Identification Number鉴定号: UN1066

Safety Considerations对安全的考虑

The hazards associated with nitrogen are asphyxiation and the high pressure of the gas in containers and systems.

同氮相联系的危险是窒息和在容器和系统里的高压。

Table 1 Gaseous Nitrogen Physical and Chemical Properties

表1 气态氮的物理和化学性质

Chemical Formula化学分子式  N2

Molecular Weight分子量  28.01

Boiling Point沸点 @ 1 atm  320.5°F (–195.8°C)

Freezing Point凝固点 @ 1 atm  –346.0°F (–210°C)

Critical Temperature临界温度  –232.5°F (–146.9°C)

Critical Pressure临界压力  492.3 psia (33.5 atm)

Density密度, Liquid液体, @ BP, 1 atm  50.45 lb/scf

Density密度, Gas气体 @ 68°F (20°C), 1 atm  0.0725 lb/scf

Specific Gravity比重, Gas 气体(air空气=1) @ 68°F (20°C), 1 atm  0.967

Specific Gravity比重, Liquid液体 (water水=1) @ 68°F (20°C), 1 atm  0.808

Specific Volume比容 @ 68°F (20°C), 1 atm  13.80 scf/lb

Latent Heat of Vaporization汽化潜伏热  2399 Btu/lb mole

Expansion Ratio膨胀率, Liquid to Gas液体到气体, BP to 68°F (20°C)  1 to 694

Fig. 1 Typical cylinder shapes and sizes.图1 典型的钢瓶形状和尺寸

Fig. 2 A typical tube container system for bulk gas.图2 典型的用于大量气体的管道容器系统

Buildings建筑物

Provide adequate ventilation where nitrogen is being used. Test the atmosphere in confined work areas for oxygen content. A 19.5%oxygen concentration in the air is the minimum recommended for working without special breathing equipment.

必须为正在使用氮的地方提供充分的通风。测试狭窄工作空间内空气中氧的浓度。如果没有呼吸装置，工作时空气中氧的最小浓度推荐为19.5%。

Remember: nitrogen has no warning properties!

记住，氮没有警告性特征！

Handling and Storage操作和储存

Cylinders should be stored upright in a well-ventilated, secure area, protected from the weather (should be dry, cool, and preferably fire-resistant). Storage temperatures should NEVER exceed 125°F (52°C), and the area should be free of combustible materials. Storage should be away from heavily traveled areas and emergency exits. Avoid areas where salt or other corrosive materials are present. Valve protection caps and valve out-let seals should remain on cylinders not connected for use.

钢瓶应该直立储存在通风良好的安全的不受天气影响的地方（应该干燥、凉爽、最好防火）。储存室温度禁止超过125°F (52°C)，而且没有可燃材料。储存地应远离人员经常出入的地方和紧急出口。避免储存在有盐或其它腐蚀性材料的地方。不使用时，阀门保护帽和阀门出口密封应保持在钢瓶上。

1. Cylinder Specification钢瓶规范

• DOT–Department of Transportation, which is the regulatory body that governs the use of cylinders.

DOT-交通部，管理钢瓶使用的管理部门

• Specification of the cylinder type of material of construction (e.g., 3AA).钢瓶建材类型的规定（如3AA）

• Service or working pressure in pounds per square inch (e.g., 2,265 psi)设施或工作压力，单位为磅每平方英寸（如2,265 psi）

2. Cylinder Serial Number钢瓶序列号

• The letters SG precede the serial numbers for Specialty Gas cylinders.对于特种气体钢瓶，字母SG标在序列号之前

3. Registered Owner Symbol登记的所有者符号

• Symbol used to indicate the original owner of the cylinders.符号用于指示钢瓶的最初所有者。

• APROINC is a Registered Owner Symbol for Air Products. APROINC是Air Products的登记的所有者符号。

4. Date of Manufacture生产日期

• This date (month-year) also indicates the original hydrostatic test.该日期（月-年）还说明了最初的流体静力学测试的日期。

5. Neck Ring Identification颈环鉴别

• The cylinder neck ring displays the name of the current owner of the cylinder.颈环显示着钢瓶现在的所有者的名字。

6. Retest Markings再测试记号

• The format for a retest marking is: Month–Facility–Year–Plus Rating–Star Stamp.再测试记号的格式是：月-设备-年-过量等级-星形标记

• The + symbol (Plus Rating) indicates that the cylinder qualifies for 10% overfill.加号（过量等级）说明钢瓶可以过量灌装10%

• The H symbol (Star Stamp) indicates that the cylinder meets the requirements for 10-year retest.符号H（星形标记）说明钢瓶满足10年后再测试的要求

7. CylinderTrak钢瓶的追踪

Bar Code Label条形码标记

• The Cylinder Trak bar code label provides a unique cylinder identifier and is used by computer systems

to track cylinders throughout the fill process. As an optional service, we have the capability of tracking cylinders to and from customers.

钢瓶的条形码标记为每个钢瓶提供了唯一的标志符号，计算机系统用它来在整个灌装过程中追踪钢瓶。作为一项可以选择的服务，我们有追踪来往于消费者的钢瓶的能力。

8. Cylinder Manufacturer’s Inspection Marking钢瓶制造商的检测标记

9. Cylinder Tare (Empty) Weight钢瓶皮（空）重

Separate full from empty cylinders. Avoid excessive inventory and storage time. Use a first-in, first-out (FIFO) system. Keep good inventory records. Do not drag, roll, or slide containers on their sides. Do not remove or interchange connections. If the user experiences any difficulty operating the container valve or with the container connections discontinue use and contact the supplier. Use the proper connections.

把空钢瓶和满钢瓶隔离开。避免库存过多和储存时间过长，做好库存记录。禁止拖拉、旋转或滑动容器。禁止移动或交换接头。如果使用者在操作容器阀门或容器连接时遇到任何困难，马上停止使用，并同供应商取得联系。使用正确的接头。

DO NOT USE ADAPTERS! Use piping and equipment designed to withstand pressures to be encountered. It is recommended that all vents be piped to the exterior of the building.

Use a suitable hand truck designed for cylinder movement. Never attempt to lift a cylinder by its cap. Secure cylinders at all times while in use. Use a pressure reducing regulator or separate control valve to safely discharge gas from cylinders. Use a check valve to prevent reverse flow into the cylinder. Do not overheat cylinders to increase pressure or discharge rate. NEVER insert an object (e.g., wrench, screwdriver, pry bar, etc.) into valve cap openings. Doing so may damage the valve causing it to leak. Use a special cap wrench or adjustable strap-wrench to remove overly tight or rusted caps.

禁止使用转换接头！使用设计得能够承受遇到的压力的管道和设备。使用设计用于钢瓶搬运的合适的手推车。禁止试图提着钢瓶帽举起钢瓶。使用时要一直保持钢瓶固定。使用减压调整器或单个的控制阀来安全地从钢瓶中排出气体。采用止回阀，防止回流入钢瓶。禁止使钢瓶过热来增加压力或流速。禁止把物体（如扳手、螺丝起子、撬杆等）插入阀门帽地开口处。这样做可能损伤阀门，导致泄漏。使用专门的阀门帽扳手或活动扳手来卸开过紧或生锈的帽子。

Refilling or shipping compressed gas cylinders without the consent of the owner is a violation of Federal law.

未经所有者同意重新灌装或运输压缩气体钢瓶是侵犯联邦法律的行为。

Personal Protective Equipment (PPE) 个人防护装备(PPE)

Personnel must be trained in the properties and safety considerations before being allowed to handle nitrogen and/or its associated equipment. The use of safety glasses, safety shoes, and leather work gloves is recommended when handling cylinders. In emergency situations, self-contained breathing apparatus (SCBA) must be worn.

在被允许使用氮和/或它的附件之前，操作人员必须经过对它们的性质和安全问题的培训。当操作钢瓶时，推荐使用安全眼镜、安全鞋和皮制工作手套。紧急形势下，必须使用自给式呼吸器。

First Aid急救

Persons suffering from a lack of oxygen should be moved to fresh air. If the victim is not breathing, administer artificial respiration. If breathing is difficult, administer oxygen. Obtain immediate medical attention.

必须把缺氧的人转移到有新鲜空气的地方。如果受害者停止了呼吸，进行人工呼吸。如果呼吸困难，输氧。立刻寻求医生的帮助。

Self-contained breathing apparatus(SCBA) may be required to prevent asphyxiation of rescue personnel.

可能要求备有自给式呼吸器（SCBA），以防止救援人员窒息。

Fire Fighting救火

Since nitrogen is nonflammable, special firefighting equipment and instructions are not needed. However, upon exposure to intense heat or flame, a nitrogen cylinder may vent rapidly and/or rupture violently. Although most cylinders are designed to vent contents when exposed to elevated temperatures, note that pressure in a container can build up due to heat and it may rupture if a pressure relief device should fail to function.

由于氮不可燃，不需要特殊的救火设备和指导。但是，暴露于剧热或火焰时，钢瓶会迅速排出内容物和/或猛烈地破裂。尽管大多数钢瓶设计得可以在暴露于高温时排出内容物，要注意如果减压装置失效的话，容器内的压力会由于热而积累，从而导致钢瓶破裂。

Fig. 4 Nonflammable gas shipping label.图4不可燃气体运输标志

Fig. 3 Key to cylinder stampings. 图3 钢瓶印记的说明

Rescue in Oxygen-deficient Atmospheres缺氧空气里的救援

Fiction: I can hold my breath long enough to rescue a downed co-worker.

虚构：我能够屏住呼吸足够长的时间来营救倒下的工友。

Fact: Over 50% of the workers who die in confined spaces are attempting to rescue other workers.

事实：超过50%的死在狭窄空间的工人正在试图营救其他工人。

Never enter an oxygen-deficient atmosphere (<19.5% O2) without self-contained breathing apparatus.

禁止未戴自给式呼吸器进入缺氧空气（氧含量小于19.5%）。

Emergency Response System紧急反应系统

• Call呼叫: +1 (800) 523-9374 (Continental U.S. and Puerto Rico美国大陆和波多黎各)

• Call呼叫: +1 (610) 481-7711 (Other locations其它地方)

• 24 hours a day, 7 days a week一天24小时，一周七天

• For assistance involving Air Products and Chemicals, Inc. gases and equipment.

Technical Information Center技术资料中心

• Call呼叫: +1 (800) 752-1597 (U.S美国.)

• Call呼叫: +1 (610) 481-8565 (Other locations其它地方)

• Fax传真: +1 (610) 481-8690

• E-mail电子邮件: gasinfo@apci.com

• Monday星期一–Friday星期五, 8:00 a.m.–5:00 p.m. EST

Product Safety Information产品安全资料

• For MSDS and Safety grams需要材料安全数据表和安全程序:

www.51qiti.com stewardship

• Fax-on-Demand应要求发传真:

Call呼叫: 020-34507954

• Enter MSDS Index No. 1000 for a complete list of available safety literature.

进入材料安全数据表第1000号可以获得现有的安全文献的全部目录

• 24 hours a day, 7 days a week一天24小时，一周七天